## Appliance energy useage
Neon John's Energy Audit Spreadsheet Rev 04022007.1
Appliance Description | Start Date | Start Meter Reading | End Date | End Meter Reading | Meter Used | KWH Used | Elapsed Time (days) | KWH Per Day | Cost per Day | Cost per Month | kwh per month
Left Ice Machine - Idle | 1997-12-13 20:00 | 0 | 1997-12-22 06:00 | 23 | 2 | 23 | 8.4167 | 2.7327 | 0.17481 | 5.3212 | 82.6634
Rite Ice Machine | 1997-12-22 06:00 | 0 | 1997-12-24 17:24 | 69 | 2 | 69 | 2.475 | 27.8788 | 1.7834 | 54.2869 | 843.3333
Blue Cooler | 1997-12-22 06:00 | 0 | 1997-12-24 17:00 | 23 | 1 | 23 | 2.4583 | 9.3559 | 0.5985 | 18.2183 | 283.0169
2 dr Reachin - during shutdwn | 1997-12-24 17:33 | 0 | 1998-01-01 19:05 | 81.5 | 2 | 81.5 | 8.0639 | 10.1068 | 0.64653 | 19.6804 | 305.7303
Fill Left Ice machine bin | 1998-01-01 | 0 | 1998-01-02 | 27 | 2 | 27 | 1 | 27 | 1.7272 | 52.5757 | 816.75
Antique Coke Machine | 1997-12-22 06:15 | 0 | 1998-01-05 03:30 | 36 | 3 | 36 | 13.8854 | 2.5926 | 0.16585 | 5.0485 | 78.4276
Steam Table - 1st Day | 1998-01-07 | 0 | 1998-01-08 | 23 | 1 | 23 | 1 | 23 | 1.4713 | 44.7867 | 695.75 | 547.1315
Steam Table | 1998-01-07 02:00 | 0 | 1998-01-14 21:00 | 177 | 1 | 177 | 7.7917 | 22.7166 | 1.4532 | 44.2348 | 687.1765
Neon shop Fridge | 1998-01-05 04:06 | 0 | 1998-01-14 23:30 | 43.5 | 3 | 43.5 | 9.8083 | 4.435 | 0.28371 | 8.636 | 134.1589
Cold Drawers | 1998-01-05 05:45 | 0 | 1998-01-14 23:42 | 34 | 2 | 34 | 9.7479 | 3.4879 | 0.22312 | 6.7919 | 105.5097
salad bar | 1998-01-14 23:50 | 0 | 1998-01-19 02:45 | 81.5 | 2 | 81.5 | 4.1215 | 19.7742 | 1.265 | 38.5053 | 598.1702
Left Tea Maker | 1998-01-19 06:00 | 0 | 1998-01-22 10:00 | 18 | 2 | 18 | 3.1667 | 5.6842 | 0.36362 | 11.0686 | 171.9474
Computers/ UPS | 1998-01-15 06:45 | 0 | 1998-01-24 20:30 | 60 | 1 | 60 | 9.5729 | 6.2677 | 0.40094 | 12.2047 | 189.5974
Coffee Maker | 1998-01-22 22:00 | 0 | 1998-01-24 20:30 | 7 | 2 | 7 | 1.9375 | 3.6129 | 0.23112 | 7.0352 | 109.2903
Day Freezer | 1998-01-24 20:45 | 0 | 1998-02-07 03:00 | 142 | 2 | 142 | 13.2604 | 10.7086 | 0.68503 | 20.8522 | 323.934
Steak Cooler | 1998-01-24 20:30 | 0 | 1998-02-07 03:05 | 73 | 1 | 73 | 13.2743 | 5.4993 | 0.35179 | 10.7086 | 166.3552
Warming Cabinet - First Day | 1998-02-07 08:00 | 0 | 1998-02-07 20:00 | 18.5 | 2 | 18.5 | 0.5 | 37 | 2.3669 | 72.0481 | 1119.25
Walk-in Freezer - Idle | 1997-12-24 18:30 | 72.3 | 1997-12-28 18:45 | 267.8 |  | 195.5 | 4.0104 | 48.7481 | 3.1184 | 94.9245 | 1474.6286
Walk-in Freezer | 1997-12-23 | 0 | 1998-01-01 01:30 | 421.6 |  | 421.6 | 9.0625 | 46.5214 | 2.976 | 90.5886 | 1407.2717
Walk-in Freezer after insulation | 1997-12-28 23:30 | 277.3 | 1998-01-02 01:30 | 421.6 |  | 144.3 | 4.0833 | 35.3388 | 2.2606 | 68.8133 | 1068.998
Milk Cooler | 1998-02-07 03:00 | 0 | 1998-02-11 23:57 | 4 | 1 | 4 | 4.8729 | 0.82086 | 0.052511 | 1.5984 | 24.8311
Holding Cabinet | 1998-02-07 03:00 | 0 | 1998-02-21 16:06 | 217 | 2 | 217 | 14.5458 | 14.9184 | 0.95433 | 29.0497 | 451.2804
3 Door - Startup | 1998-01-12 03:00 | 0 | 1998-02-18 20:15 | 69.5 | 1 | 69.5 | 37.7188 | 1.8426 | 0.11787 | 3.588 | 55.7382
3-Door Running | 1998-02-18 20:15 | 69.5 | 1998-02-21 17:28 | 100 | 1 | 30.5 | 2.884 | 10.5755 | 0.67651 | 20.5931 | 319.9085
3-door Stabilized | 1998-02-21 17:32 | 0 | 1998-03-03 22:22 | 96 | 1 | 96 | 10.2014 | 9.4105 | 0.60199 | 18.3245 | 284.6671
Holding Cabinet | 1998-02-07 03:00 | 0 | 1998-02-21 16:06 | 217 | 2 | 217 | 14.5458 | 14.9184 | 0.95433 | 29.0497 | 451.2804
Medium Chest Freezer | 1998-01-14 23:30 | 0 | 1998-03-28 14:42 | 262 | 3 | 262 | 72.6333 | 3.6072 | 0.23075 | 7.024 | 109.1166
New 2 Door Refrigerator | 1998-03-07 02:20 | 0 | 1998-03-30 02:55 | 326 | 1 | 326 | 23.0243 | 14.159 | 0.90575 | 27.571 | 428.3082
Bun Warmer | 1998-02-25 23:16 | 0 | 1998-04-23 23:00 | 225 | 2 | 225 | 56.9889 | 3.9481 | 0.25256 | 7.688 | 119.4312
Delfield 2 door freezer | 1998-03-30 03:00 | 0 | 1998-06-01 15:00 | 845.5 | 1 | 845.5 | 63.5 | 13.315 | 0.85176 | 25.9275 | 402.7776
Apartment AC | 1997-04-06 01:15 | 0 | 1997-11-01 | 3426 | 4 | 3426 | 208.9479 | 16.3964 | 1.0489 | 31.9279 | 495.992
new ice machine | 2003-10-08 01:30 | 173 | 2004-02-29 01:00 | 1443 | 2 | 1270 | 143.9792 | 8.8207 | 0.56426 | 17.1761 | 266.8268
Two door refrigerator in apartment | 2006-04-04 02:16 | 538 | 2006-05-04 17:40 | 780 | 4 | 242 | 30.6417 | 7.8977 | 0.50522 | 15.3789 | 238.9067
Small upright freezer at cabin | 2006-07-02 | 7714 | 2006-11-04 | 7997 |  | 283 | 125 | 2.264 | 0.14483 | 4.4086 | 68.486
[9 empty] | 0 | 0 | 0
[9 empty] | 0 | 0 | 0
[9 empty] | 0 | 0 | 0
[9 empty] | 0 | 0 | 0
0
0
0
Note: This spreadsheet is copyright 1995-2007 by John DeArmond. All rights Reserved. Permission is given to use this spreadsheet by either private or commercial endusers. It may not be used for profit or sold or bundled in any commercial product without my prior written permission. You may contact me at http://www.neon-john.com. My intent is to let anyone or any company use this sheet to facilitate energy audits of their facilities but not to sell or otherwise profit from it.

## Utility Costs
| Rate Per Unit Measured | Average Daily $$$ From Last Month |  | Ave Change For the Period
Electrical Rate | 0.06397 | 17.1233 |  | -9.603%
Gas Rate | 0.80067 | 8.642 |  | -15.27%
Date | Elect Meter Reading | Gas Meter Reading | Delta- KWH | Hours in Period | KWH per Hour | Cost Per Hour | Cost per 24 Hours | % diff from Last Mon. ave | Gas Delta- CCF | Hours in Period | CCF per Hour | Cost Per Hour | Cost per 24 Hours | % diff from Last Mon. ave | Notes
1997-12-23 12:00 | 26695.5 | 5627
1997-12-24 12:00 | 27059 | 5645.5 | 363.5 | 24 | 15.1458 | 0.96888 | 23.2531 | 35.8% | 18.5 | 24 | 0.77083 | 0.61718 | 14.8124 | 71.4%
1997-12-28 18:45 | 27533 | 5654 | 474 | 102.75 | 4.6131 | 0.2951 | 7.0825 | -58.64% | 8.5 | 102.75 | 0.082725 | 0.066236 | 1.5897 | -81.61%
1997-12-29 12:00 | 27622.5 | 5663 | 89.5 | 17.25 | 5.1884 | 0.3319 | 7.9657 | -53.48% | 9 | 17.25 | 0.52174 | 0.41774 | 10.0258 | 16.01%
1997-12-30 12:00 | 27865.5 | 5675 | 243 | 24 | 10.125 | 0.6477 | 15.5447 | -9.219% | 12 | 24 | 0.5 | 0.40034 | 9.6081 | 11.18%
1997-12-31 12:00 | 28082.5 | 5696.5 | 217 | 24 | 9.0417 | 0.5784 | 13.8815 | -18.93% | 21.5 | 24 | 0.89583 | 0.71727 | 17.2144 | 99.19%
1998-01-01 12:00 | 28270 | 5720 | 187.5 | 24 | 7.8125 | 0.49977 | 11.9944 | -29.95% | 23.5 | 24 | 0.97917 | 0.78399 | 18.8158 | 117.7%
1998-01-02 17:30 | 28455.5 | 5732 | 185.5 | 29.5 | 6.2881 | 0.40225 | 9.654 | -43.62% | 12 | 29.5 | 0.40678 | 0.3257 | 7.8167 | -9.55%
1998-01-03 15:30 | 28663 | 5741 | 207.5 | 22 | 9.4318 | 0.60335 | 14.4805 | -15.43% | 9 | 22 | 0.40909 | 0.32755 | 7.8611 | -9.036%
1998-01-05 15:15 | 29018 | 5752.5 | 355 | 47.75 | 7.4346 | 0.47559 | 11.4141 | -33.34% | 11.5 | 47.75 | 0.24084 | 0.19283 | 4.628 | -46.45%
1998-01-07 12:00 | 29666.5 | 5763.5 | 648.5 | 44.75 | 14.4916 | 0.92703 | 22.2487 | 29.93% | 11 | 44.75 | 0.24581 | 0.19681 | 4.7235 | -45.34%
1998-01-09 12:00 | 30301 | 5776 | 634.5 | 48 | 13.2188 | 0.8456 | 20.2945 | 18.52% | 12.5 | 48 | 0.26042 | 0.20851 | 5.0042 | -42.09%
1998-01-10 17:00 | 30592 | 5787.5 | 291 | 29 | 10.0345 | 0.64191 | 15.4057 | -10.03% | 11.5 | 29 | 0.39655 | 0.31751 | 7.6202 | -11.82%
1998-01-11 21:00 | 30821.5 | 5793.5 | 229.5 | 28 | 8.1964 | 0.52433 | 12.5838 | -26.51% | 6 | 28 | 0.21429 | 0.17157 | 4.1177 | -52.35%
1998-01-12 21:00 | 31104.5 | 5800 | 283 | 24 | 11.7917 | 0.75431 | 18.1035 | 5.724% | 6.5 | 24 | 0.27083 | 0.21685 | 5.2044 | -39.78%
1998-01-13 21:00 | 31341 | 5810 | 236.5 | 24 | 9.8542 | 0.63037 | 15.1289 | -11.65% | 10 | 24 | 0.41667 | 0.33361 | 8.0067 | -7.351%
1998-01-14 21:00 | 31626 | 5815.5 | 285 | 24 | 11.875 | 0.75964 | 18.2314 | 6.471% | 5.5 | 24 | 0.22917 | 0.18349 | 4.4037 | -49.04%
1998-01-15 21:00 | 31943.5 | 5825.5 | 317.5 | 24 | 13.2292 | 0.84627 | 20.3105 | 18.61% | 10 | 24 | 0.41667 | 0.33361 | 8.0067 | -7.351%
1998-01-16 21:00 | 32271 | 5838.5 | 327.5 | 24 | 13.6458 | 0.87292 | 20.9502 | 22.35% | 13 | 24 | 0.54167 | 0.4337 | 10.4087 | 20.44%
1998-01-17 21:00 | 32556 | 5845.5 | 285 | 24 | 11.875 | 0.75964 | 18.2314 | 6.471% | 7 | 24 | 0.29167 | 0.23353 | 5.6047 | -35.15%
1998-01-18 21:00 | 32841 | 5855.5 | 285 | 24 | 11.875 | 0.75964 | 18.2314 | 6.471% | 10 | 24 | 0.41667 | 0.33361 | 8.0067 | -7.351%
1998-01-19 21:00 | 33216 | 5868.5 | 375 | 24 | 15.625 | 0.99953 | 23.9887 | 40.09% | 13 | 24 | 0.54167 | 0.4337 | 10.4087 | 20.44%
1998-01-20 17:00 | 33361 | 5875.5 | 145 | 20 | 7.25 | 0.46378 | 11.1308 | -35% | 7 | 20 | 0.35 | 0.28023 | 6.7256 | -22.18%
1998-01-21 17:00 | 33581 | 5885 | 220 | 24 | 9.1667 | 0.58639 | 14.0734 | -17.81% | 9.5 | 24 | 0.39583 | 0.31693 | 7.6064 | -11.98%
1998-01-22 17:00 | 33870 | 5893 | 289 | 24 | 12.0417 | 0.77031 | 18.4873 | 7.966% | 8 | 24 | 0.33333 | 0.26689 | 6.4054 | -25.88%
1998-01-23 17:00 | 34178 | 5899 | 308 | 24 | 12.8333 | 0.82095 | 19.7028 | 15.06% | 6 | 24 | 0.25 | 0.20017 | 4.804 | -44.41%
1998-01-24 17:00 | 34464 | 5906 | 286 | 24 | 11.9167 | 0.76231 | 18.2954 | 6.845% | 7 | 24 | 0.29167 | 0.23353 | 5.6047 | -35.15%
1998-01-25 17:00 | 34629 | 5909.5 | 165 | 24 | 6.875 | 0.43979 | 10.555 | -38.36% | 3.5 | 24 | 0.14583 | 0.11676 | 2.8023 | -67.57%
1998-01-26 17:00 | 34836 | 5917.5 | 207 | 24 | 8.625 | 0.55174 | 13.2418 | -22.67% | 8 | 24 | 0.33333 | 0.26689 | 6.4054 | -25.88%
1998-01-27 17:00 | 35094.5 | 5925 | 258.5 | 24 | 10.7708 | 0.68901 | 16.5362 | -3.429% | 7.5 | 24 | 0.3125 | 0.25021 | 6.005 | -30.51%
1998-01-29 01:15 | 35445 | 5936 | 350.5 | 32.25 | 10.8682 | 0.69524 | 16.6858 | -2.555% | 11 | 32.25 | 0.34109 | 0.2731 | 6.5543 | -24.16%
1998-01-29 17:00 | 35626.5 | 5940 | 181.5 | 15.75 | 11.5238 | 0.73718 | 17.6923 | 3.323% | 4 | 15.75 | 0.25397 | 0.20335 | 4.8803 | -43.53%
1998-01-30 17:00 | 35842 | 5947.5 | 215.5 | 24 | 8.9792 | 0.5744 | 13.7855 | -19.49% | 7.5 | 24 | 0.3125 | 0.25021 | 6.005 | -30.51%
1998-01-31 17:00 | 36045 | 5953.5 | 203 | 24 | 8.4583 | 0.54108 | 12.9859 | -24.16% | 6 | 24 | 0.25 | 0.20017 | 4.804 | -44.41%
1998-02-01 17:00 | 36173 | 5955.5 | 128 | 24 | 5.3333 | 0.34117 | 8.1882 | -52.18% | 2 | 24 | 0.083333 | 0.066723 | 1.6013 | -81.47%
1998-02-02 17:00 | 36354.5 | 5965.5 | 181.5 | 24 | 7.5625 | 0.48377 | 11.6106 | -32.19% | 10 | 24 | 0.41667 | 0.33361 | 8.0067 | -7.351% | Neon Work
1998-02-03 17:00 | 36587 | 5976.5 | 232.5 | 24 | 9.6875 | 0.61971 | 14.873 | -13.14% | 11 | 24 | 0.45833 | 0.36697 | 8.8074 | 1.914% | Neon Work
1998-02-04 17:00 | 36835.5 | 5989 | 248.5 | 24 | 10.3542 | 0.66236 | 15.8965 | -7.164% | 12.5 | 24 | 0.52083 | 0.41702 | 10.0084 | 15.81% | Snow, Neon Work
1998-02-05 17:00 | 37133.5 | 6001.5 | 298 | 24 | 12.4167 | 0.79429 | 19.0631 | 11.33% | 12.5 | 24 | 0.52083 | 0.41702 | 10.0084 | 15.81% | Woody Quit
1998-02-06 17:00 | 37430 | 6015 | 296.5 | 24 | 12.3542 | 0.7903 | 18.9671 | 10.77% | 13.5 | 24 | 0.5625 | 0.45038 | 10.8091 | 25.08%
1998-02-07 17:00
1998-02-08 17:00
1998-02-09 17:00
1998-02-10 17:00
1998-02-11 17:00
1998-02-12 17:00
1998-02-13 17:00